## Contents
Embedded Capacity Register |  | Version 3.0 (of template)
Last Updated [DD/MM/YYYY]:
2023-11-14
About
Embedded Capacity Register: means, for each DNO/IDNO Party, a register of site-specific data items for sites which are connected to the DNO/IDNO Party's Distribution System (or which are the subject of an accepted connection offer to be connected to the Distribution System), and which: (a) have an import capacity of 1 MW or more and are subject to a DSR Contract; and/or (b) have generation with a registered capacity of 1 MW or more. The required register format and data items are described in Schedule 31 (Embedded Capacity Register). This Embedded Capacity Register (ECR) includes details of connected generation (including storage) and flexible demand resources connected to [name of DNO/IDNO]'s Distribution System. Generation assets are included where the Registered Capacity is greater than or equal to 1MW. Sites providing Demand Side Response (DSR) are included where the contracted capacity is greater than or equal to 1MW. Part 1 of the ECR provides information on generation (including storage) assets. Part 2 of the ECR provides information on demand sites providing Demand Side Response (DSR) services. The sheets that make up the ECR are: Definitions Part 1 - this describes the different data fields used in Part 1 of the ECR. Register Part 1 - this comprises a list of generation (including storage) assets. Definitions Part 2 (DSR) - this describes the different data fields used in Part 2 of the ECR. Register Part 2 - this comprises a list of demand sites providing DSR services.
Contacts and other useful information
| Contact details If you believe that any details pertaining to your site or a specific site are incorrect then please use the contact details provided to notify us so that the details can be corrected in the next version. | GTC, Synergy House
Woolpit Business Park
Bury St Edmunds
Suffolk
IP30 9UP
embedded.generation@gtc-uk.co.uk
| Regional Maps To assist you in identifying the geographic regions referred to in the register, there is a map here. | Please see the 'Electricity distribution map' section on the following website:
https://www.energynetworks.org/operating-the-networks/whos-my-network-operator
| Additional Information To assist you in understanding how the capacity of connected generation impacts on our network, we provide the following links to addittional information e.g. heat maps for our regions / areas | https://www.gtc-uk.co.uk/suppliers/electricity-generation/

## Definitions Part 1
Part 1
Introduction
For clarity, sites associated with generation (including storage) are shown in Part 1 of the Embedded Capacity Register. Sites subject to a DSR Contract associated with consumption units are shown in Part 2 of the Embedded Capacity Register.
Register Definitions
| Heading | Explanation
General Data
| Export MPAN / MSID | The core meter point administration number, a 13-digit reference used in MPAS to identify the relevant Metering Point. For generation and storage sites, the "Export" MPAN (or MSID for CVA registered sites) should be included. For "Accepted to Connect" generation or storage entries, please indicate "data not available".
| Import MPAN / MSID | The core meter point administration number, a 13-digit reference used in MPAS to identify the relevant Metering Point. For sites subject to a DSR contract and for storage sites, the "Import" MPAN (or MSID for CVA registered sites) should be included. For generation sites, including generators taking on-site supplies, please indicate "not applicable". For "Accepted to Connect" storage sites, please indicate "data not available".
| Customer Name | Name of party that is connected or contracted to connect.
| Customer Site | Name of customer site/project name.
| Address Line 1 | Address line 1 of the Customer Site.
| Address Line 2 | Address line 2 of the Customer Site.
| Town/ City | Town / City of the Customer Site.
| County | County of the Customer Site.
| Postcode | Postcode of the Customer Site.
| Country | GB country of the Customer Site.
| Location (X-coordinate): Eastings (where data is held) | Six digit British National Grid X coordinate of the Customer Site. Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Location (Y-coordinate): Northings (where data is held) | Six or seven digit British National Grid Y coordinate of the Customer Site. (In Northern Scotland, these will be seven digit coordinates.) Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Grid Supply Point | The point of connection between the transmission system and the distribution system that is linked with the Customer Site.
| Bulk Supply Point | The supply point on the distribution system (representing an EHV/EHV transformation level) that is linked with the Customer Site.
| Primary | The primary substation on the distribution system that is linked with the Customer Site.
| Point of Connection (POC) Voltage (kV) | The voltage at the Point of Connection to the distribution system.
| Licence Area | Licence area Customer Site is connected within
| Energy Source 1 | Meaning any of the below energy source types used in the production of electricity:
Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste)
Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage)
Biofuel - Landfill gas
Biofuel - Sewage gas
Biofuel - Other
Biomass
Fossil - Brown coal/lignite
Fossil - Coal gas
Fossil - Gas
Fossil - Hard coal
Fossil - Oil
Fossil - Oil shale
Fossil - Peat
Fossil - Other
Geothermal
Hydrogen
Nuclear
Solar
Stored Energy (all stored energy irrespectve of the original energy source)
Waste
Water (flowing water or head of water)
Wind
Other
Data not available
| Energy Conversion Technology 1 | Meaning any of the below technology types that export electricity onto a distribution system:
Engine (combustion / reciprocating)
Steam turbine (thermal power plant)
Gas turbine (OCGT)
Steam-gas turbine (CCGT)
Fuel Cell
Hydro - Run of river
Hydro - Reservoir (not pumped)
Hydro - Other
Tidal lagoons
Tidal stream devices
Wave devices
Photovoltaic
Offshore wind turbines
Onshore wind turbines
Geothermal power plant
Storage - Chemical
Storage - Electrical
Storage - Mechanical - Compressed Air (Adiabatic & Diabatic)
Storage - Mechanical - Liquid Air
Storage - Mechanical - Pumped Hydro
Storage - Mechanical - Flywheel
Storage - Thermal
Storage - Electrochemical (Batteries)
Storage - Other
Interconnector
Other
Data not available
| CHP Cogeneration (Yes/No) | Indicates whether the generation in the Customer Site forms part of a CHP scheme.
| Storage Capacity 1 (MWh) | This is the energy capacity of the storage facility (MWh).
| Storage Duration 1 (Hours) | Divide the storage capacity (MWh) by the Registered Capacity (MW) and round it down to the nearest 0.5 (half-hour). If the value is less than 0.5 before rounding, it could be rounded to 0.5 hours so that it is not zero.
| Energy Source & Energy Conversion Technology 1 - Registered Capacity (MW) | This is the Registered Capacity of the "Energy Source 1" expressed in MW.
| Energy Source 2 | Where there is more than one plant type at a site, the "Energy Source 2" and "Energy Source 3" fields would be used to show the energy source types additional to the "Energy Source 1". Meaning any of the energy source types stated above for the "Energy Source 1".
| Energy Conversion Technology 2 | Defined as above for “Energy Conversion Technology 1”.
| CHP Cogeneration 2 (Yes/No) | Indicates whether the generation in the Customer Site forms part of a CHP scheme.
| Storage Capacity 2 (MWh) | This is the energy capacity of the storage facility (MWh).
| Storage Duration 2 (Hours) | Divide the storage capacity (MWh) by the Registered Capacity (MW) and round it down to the nearest 0.5 (half-hour). If the value is less than 0.5 before rounding, it could be rounded to 0.5 hours so that it is not zero.
| Energy Source & Energy Conversion Technology 2 - Registered Capacity (MW) | This is the Registered Capacity of the "Energy Source 2" expressed in MW.
| Energy Source 3 | Defined as above for “Energy Source 2”
| Energy Conversion Technology 3 | Defined as above for “Energy Conversion Technology 2”
| CHP Cogeneration 3 (Yes/No) | Indicates whether the generation in the Customer Site forms part of a CHP scheme.
| Storage Capacity 3 (MWh) | This is the energy capacity of the storage facility (MWh).
| Storage Duration 3 (Hours) | Divide the storage capacity (MWh) by the Registered Capacity (MW) and round it down to the nearest 0.5 (half-hour). If the value is less than 0.5 before rounding, it could be rounded to 0.5 hours so that it is not zero.
| Energy Source & Energy Conversion Technology 3 - Registered Capacity (MW) | This is the Registered Capacity of the "Energy Source 3" expressed in MW.
| Flexible Connection (Yes/No) | Indicates whether the connection is subject to a flexible connection arrangement e.g. Active Network Management (ANM) during system normal conditions.
| Connection Status | “Connected" or "Accepted to Connect"?
Already Connected
| Already connected Registered Capacity (MW) | This is the total Registered Capacity of generation already connected at the site expressed in MW.
| Maximum Export Capacity (MW) | This is the total MW export capacity permitted as per the connection agreement.
| Maximum Export Capacity (MVA) | This is the total MVA export capacity permitted as per the connection agreement.
| Maximum Import Capacity (MW) | This is the total MW import capacity permitted as per the connection agreement.
| Maximum Import Capacity (MVA) | This is the total MVA export capacity permitted as per the connection agreement.
| Date Connected | Date the connection was provided in the case of a new connection. In cases where there was an existing connection, this is date the new equipment was connected.
Accepted to Connect
| Accepted to Connect Registered Capacity (MW) | This is the Registered Capacity of generation that is not already connected, but has been Accepted to Connect, expressed in MW.
| Change to Maximum Export Capacity (MW) | This is the new/additional MW export capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Change to Maximum Export Capacity (MVA) | This is the new/additional MVA export capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Change to Maximum Import Capacity (MW) | This is the new/additional MW import capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Change to Maximum Import Capacity (MVA) | This is the new/additional MVA import capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Date Accepted | Date the Customer accepted the connection offer from the DNO or IDNO.
| Target Energisation Date | Estimated date of energisation. This date is likely to change to reflect the latest date notified by customers.
Services Provided
| Distribution Service Provider (Y/N) | Indicates whether a service is provided to the DNO.
| Transmission Service Provider (Y/N) | Indicates whether a service is provided to the ESO or a TO.
| Reference | Unique reference to the service(s) being provided.
Reinforcement Works
| In a Connection Queue (Y/N) | Indicates whether the connection to the Customer Site is in a connection queue.
| Distribution Reinforcement Reference | Unique reference to relevant distribution reinforcement required for connection.
| Transmission Reinforcement Reference | Unique reference to relevant transmission reinforcement required for connection.
Last Update of Data Row
| Last Updated | Date on which entry was last updated.
Note
For each site that meets the criteria to be included in its Embedded Capacity Register, each DNO/IDNO Party shall use reasonable endeavours to populate all relevant fields in the Embedded Capacity Register. Where the DNO/IDNO Party does not hold data for a specific field for a specific site, then the DNO/IDNO Party will populate the relevant field with the words ‘data not available’. If a specific field is not applicable to a specific site, then the DNO/IDNO Party will populate the relevant field with the words ‘data not applicable’.

## Register Part 1
| General Data | [36 empty] | Already Connected | [5 empty] | Accepted to Connect | [6 empty] | Services Provided |  |  | Reinforcement Works |  |  | Last Update of Data Row
GTC Network | Export MPAN / MSID | Import MPAN / MSID | Customer Name | Customer Site | Address Line 1 | Address Line 2 | Town/ City | County | Postcode | Country | Location (X-coordinate): Eastings (where data is held) | Location (y-coordinate): Northings (where data is held) | Grid Supply Point | Bulk Supply Point | Primary | Point of Connection (POC) Voltage (kV) | Licence Area | Energy Source 1 | Energy Conversion Technology 1 | CHP Cogeneration (Yes/No) | Storage Capacity 1 (MWh) | Storage Duration 1 (Hours) | Energy Source & Energy Conversion Technology 1 - Registered Capacity (MW) | Energy Source 2 | Energy Conversion Technology 2 | CHP Cogeneration 2 (Yes/No) | Storage Capacity 2 (MWh) | Storage Duration 2 (Hours) | Energy Source & Energy Conversion Technology 2 - Registered Capacity (MW) | Energy Source 3 | Energy Conversion Technology 3 | CHP Cogeneration 3 (Yes/No) | Storage Capacity 3 (MWh) | Storage Duration 3 (Hours) | Energy Source & Energy Conversion Technology 3 - Registered Capacity (MW) | Flexible Connection (Yes/No) | Connection Status | Already connected Registered Capacity (MW) | Maximum Export Capacity (MW) | Maximum Export Capacity (MVA) | Maximum Import Capacity (MW) | Maximum Import Capacity (MVA) | Date Connected | Accepted to Connect Registered Capacity (MW) | Change to Maximum Export Capacity (MW) | Change to Maximum Export Capacity (MVA) | Change to Maximum Import Capacity (MW) | Change to Maximum Import Capacity (MVA) | Date Accepted | Target Energisation Date | Distribution Service Provider (Y/N) | Transmission Service Provider (Y/N) | Reference | In a Connection Queue (Y/N) | Distribution Reinforcement Reference | Transmission Reinforcement Reference | Last Updated
N0013877 | 2700003859654 | 2700003859645 | Berkeley Homes (East Thames) Ltd | Kidbrooke Village Energy Centre | 85 TUDWAY ROAD | KIDBROOKE | LONDON | LONDON | SE3 9FA | England | 540919 | 175590 | Hurst | Hurst | Kidbrooke Village IDNO | 11 | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.19 | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.19 | [6 empty] | No | Connected | 1.19 | 1.19 | 1.935 | 0.454 | 0.478 | 2018-06-01 | 1.935 | 1.19 | 1.935 | 0.454 | 0.478 | 2017-07-01 | 2027-06-01 | No | No |  | No |  |  | 2020-07-07
N0013667 | 2700004080470 | 2700001033919 | Everest Computing Ltd | EVEREST D.C. | Unit 2 | Smallmead Road | Reading | Berkshire | RG2 0QS | England | 471096 | 170327 | SSEN | SSEN | SSEN | 11 | ENC | Fossil - Other | Engine (combustion / reciprocating) | No | 0 | 0 | 6.27 | [12 empty] | No | Connected | 6.6 | 2.38 | 2.5 | 3.8 | 4 | 2016-09-01 | [7 empty] | No | No |  | No |  |  | 2020-07-07
N0016905 | 2700007176055 | 2700004911241 | Redrow Homes Ltd | Peel Centre Energy Centre | 34 Horizon House | Lismore Boulevard | London | London | NW9 4DW | England | 521680 | 189849 | Colindale Grid 132/11kV (0F8073) | MILL HILL 132kV (0C8079) | N/A | 11 | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.56 | [12 empty] | No | Accecpted to Connect | [6 empty] | 1.93 | 1.56 | 1.93 | - | - | 2019-10-01 |  | No | No |  | No |  |  | 2020-07-07
N0020183 | 2700006369022 | 2700006324476 | Nuveen Real Estate | Edinburgh St James Energy Centre | St James Square |  | Edinburgh | Midlothian | EH1 3AY | Scotland | 325875 | 674212 | Shrubhill A GSP | Shrubhill 275kV | St James Centre New Primary | 11 | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.2 | [12 empty] | No | Connected | 1.2 | 1.2 | 1.26 |  |  | 2021-08-18 | [7 empty] | No | No |  | No |  |  | 2020-10-13
N7042433 | 2400001129561 2400001129570 |  | Kings Cross Central General Partnership LTD. | King's Cross Stage 4 - CHP | T1 Energy centre | York Road | London | London | N1 0OO | England | 529903 | 183749 | City Road | City Road | Canal Street | 11 | IPNL | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.98 | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.98 | [6 empty] | No | Connected | 3.96 | 3.96 | 4.98 |  |  | 2020-10-07 | [7 empty] | No | No |  | No |  |  | 2020-10-13
N0014695 | 2700004514177 | 2700004514168 | E.ON Energy Solutions Ltd | Heygate Energy Centre | Heygate Street | Southwark | London | London | SE17 1FF | England | 532272 | 178730 | City Road | City Road | Bankside D | 20 | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.8 | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.8 | [6 empty] | No | Connected | 1.6 | 1.6 | 1.68 | 0.35 | 0.36 | 2016-11-01 | [7 empty] | No | No |  | No |  |  | 2020-07-07
N0016093 | 2700002796073 | 2700002796064 | ALDI UK | ALDI CARDIFF RDC | Capital Business Park | Wentloog Avenue | Cardiff | Cardiff | CF3 2PY | Wales | 323096 | 178857 | Cardiff East 51-0007 275/132kV | Trowbridge 51 0902 132/11kV | N/A | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 1.5 | [12 empty] | No | Connected | 1.5 | 1.5 | 1.58 | 1.5 | 1.58 | 2015-08-01 | [7 empty] | No | No |  | No |  |  | 2020-07-08
N7047256 | 2400000738874 | 2400000715097 | Morrison Supermarkets Plc | Morrisons Bridgewater DC | Little Sydnham Farm | Horsley | Bridgewater | Somerset | TA6 4FG | England | 331284 | 139901 | Bridgwater GSP 206008 275/132kV | Bridgwater BSP 210444 132/33kV | Bath Road 210160 | 11 | IPNL | Fossil - Other | Engine (combustion / reciprocating) | No | 0 | 0 | 1.6 | Solar | Photovoltaic | No | 0 | 0 | 0.28 | [6 empty] | No | Connected | 1.9 | 1.9 | 2 | 0.975 | 0.975 | 2011-07-01 | [7 empty] | No | No |  | No |  |  | 2021-07-08
N0018268 | 2700005475731 (ALDI 1) 2700005475740 (ALDI 2) | 2700005271247 (ALDI 1) 2700005271256 (ALDI 2) | ALDI UK | ALDI RDC Sawley | Tamworth Road |  | Sawley | Derbyshire | DE72 2HP | England | 445852 | 329844 | Willington G0039 400/132kV | Spondon 14G3036 132/33kV | Trent Lane 14P2074 | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 2 | [12 empty] | No | Accecpted to Connect | [6 empty] | 2.1 | 1 | 0.95 | 2 | 2.5 | 2020-03-29 |  | No | No |  | No |  |  | 2021-07-08
N0020460 | 2700006820056 | 2700006701650 | St. George Developments | Northfields Industrial Estate | Belgrave Road |  | Wembley | London | HA0 1AZ | England | 519155 | 183824 | Leicester Rd Grid 132/33kV (0D8122) | Willesden Grid 275/132kV | Beresford Avenue Primary (0H8024) | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.2 | [12 empty] | No | Accecpted to Connect | [6 empty] | 1.2 | 1.2 | 0.9 | 879 | 879 | 2020-09-23 |  | No | No |  | No |  |  | 2020-10-13
N0019270 |  | 2700004433378 | GLP UK Management Ltd | Magna Park | Unit 520 | Harvie Card Way | Milton Keynes | Buckinghamshire | MK17 7AB | England | 492549 | 238596 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 2 | [12 empty] | No | Accecpted to Connect | [6 empty] | 2 | 2 | 2 | 1658 | 1745 | 2020-10-19 |  | No | No |  | Yes |  |  | 2021-11-10
N0014487 | 2700007282073 | 2700001581418 | E.ON Energy Solutions Ltd | Greenwich Millenium Village Energy Centre | Block 504 | Greenwich | London | London | SE10 0GU | England | 540221 | 178837 | UKPN | UKPN | UKPN | 11 | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 1.56 | [12 empty] | No | Connected | 1.56 | 1.56 | 1.93 | 71.25 | 75 | 2021-07-06 | [7 empty] | No | No |  | No |  |  | 2021-07-10
N0019161 |  | 2700004433340 | Amazon Services UK Ltd | Amazon STN8 | Unit 510 | Magna Park | Milton Keynes | Buckinghamshire | MK17 8EW | England | 492411 | 238896 | WPD | WPD | WPD | 11 | ENC | Solar | Photovoltaic | No | 0 | 0 | 2 | [12 empty] | No | Accecpted to Connect | [6 empty] | 2 | 0.099 | 0.099 | 1.9 | 2 | 2022-02-16 | 2022-08-05 | No | No |  | No |  |  | 2022-04-10
N0020796 |  | 2700006364274 | Amazon Services UK Ltd | Amazon EMA2 | Summit Park | Sherwood Way S | Mansfield | Nottinghamshire | NG17 5LD | England | 452136 | 359378 | WPD | WPD | WPD | 11 | ENC | Solar | Photovoltaic | No | 0 | 0 | 4.2 | [12 empty] | No | Accecpted to Connect | [6 empty] | 4.2 | 0 | 0 | 3.8 | 4 | 2022-02-16 |  | No | No |  | No |  |  | 2022-04-10
N0021171 |  | 2700007911801 | Guinness Developments Ltd | Edison House | 2 Daniel Adamson | Salford | Manchester | Manchester | M50 1DT | England | 538175 | 182593 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.1444 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.144 | 0.144 | 0.152 | 0.126 | 0.133 | 2022-10-13 |  | No | No |  | No |  |  | 2022-11-15
N7036170 |  | 2400000653148 | Buckingham Lodge Care Home | Burnfield House | 4A Burnfield House | Giffnock | Glasgow | Glasgow | G46 7TP | Scotland | 593843 | 300749 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.076 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.076 | 0.076 | 0.08 | 0.113 | 0.119 | 2022-10-11 |  | No | No |  | No |  |  | 2022-11-15
N0013211 |  | 2700000696535 | Workspace 14 Ltd. | Three Colts Lane | Grreen Business Centre LL | Brixton 1 - 3 | London | London | E2 6JB | England | 531357 | 177411 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0712 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0712 | 0.0712 | 0.075 | 0.427 | 0.45 | 2022-09-21 |  | No | No |  | No |  |  | 2022-11-15
N0013149 | 2700008628160 | 2700000735005 | Heart Academies Trust | Mile Road | Bedford Academy |  | Bedford | Bedford | MK42 9TR | England | 506099 | 247687 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.131 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.131 | 0.131 | 0.138 | 0.712 | 0.75 | 2022-09-22 |  | No | No |  | No |  |  | 2022-11-15
N0015391 | 2700008467681 | 2700002407631 | APAC Group Ltd | Loughborough Road | Warehouse | Rothley | Leicester | Leicestershire | LE7 7NL | England | 458949 | 313963 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.099 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.094 | 0.094 | 0.099 | 0.142 | 0.15 | 2022-08-16 |  | No | No |  | No |  |  | 2022-11-15
N0021073 | 2700008059550 | 2700008019869 | DC5 Pineham | Pineham Industrial Estate | Units DC5 & DC8 | Style WAY | Northampton | Northampton | NN4 93X | England | 470652 | 258958 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.38 | [12 empty] | No | Connected | 0.38 | 0.38 | 0.4 | 3.325 | 3500 | 2022-09-05 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0022473 | 2700008454015 | 2700007856513 | Envirovent | Bardner Bank | Unit A | Killingham | Harrogate | Harrogate | LS12 2PY | England | 426478 | 455649 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.18 | [12 empty] | No | Connected | 0.18 | 0.18 | 0.19 | 0.427 | 0.45 | 2022-08-11 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0022497 |  | 2700008010607 | North East Property Partnership | Eight Avenue | TVTE Warehouse | Gateshead | Newcastle | Newcastle | NE11 OSX | England | 424456 | 559178 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.152 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.152 | 0.152 | 0.16 | 0.328 | 0.346 | 2022-07-05 |  | No | No |  | No |  |  | 2022-11-15
N0019789 |  | 2700006157804 (D4B) 2700006158783 (D20) | C Nicholson House | River Way | Maiden Court Langton House | 1 Nightingale Walk 12 Old Market Place | Farnham | Farnham | GU97WD GU9 7GW | England | 484337 484255 | 146937 146898 | SSE | SSE | SSE Farnham Primary | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.104 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.104 | 0.104 | 0.11 | 0.038 | 0.04 | 2022-07-04 |  | No | No |  | No |  |  | 2022-11-15
N0013239 |  | 2700006186007 | Coopers Fire Ltd | Houghton Avenue | Unit 310 | Ignis House | Waterlooville | Waterlooville | PO7 3DU | England | 467048 | 109759 | ENW | ENW | ENW | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.19 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.19 | 0.19 | 0.2 | 0.213 | 0.225 | 2022-07-14 |  | No | No |  | No |  |  | 2022-11-15
N0022715 | 2700008401459 | 2700007917627 | LNT Care Developments Ltd | Naylor Avenue | Nursing Home | Leeds | Park Lodge | Rawdon | LS19 7FG | England | 420723 | 440441 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | Stored Energy (all stored energy irrespective of the original energy source) | Storage - Electrical | No |  |  | 0.171 | [6 empty] | No | Accecpted to Connect | [6 empty] | 0.153 | 0.153 | 0.18 | 0.902 | 0.095 | 2022-06-23 |  | No | No |  | No |  |  | 2022-11-15
N0020045 |  | 2700005090103 | IMK Holdings Ltd | Weekley Wood Avenue | Unit 4 | Kettering | Northamptonshire | Northamptonshire | NN14 1UD | England | 486758 | 281456 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.474 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.474 | 0.474 | 0.499 | 0.95 | 1 | 2022-05-31 |  | No | No |  | No |  |  | 2022-11-15
N0018177 | 2700008049241 | 2700003901172 | Ystum Colwyn Farms | Ystum Colwyn | Commercial Supply | Broiler House | Meifod | Powys | SY22 6BN | Wales | 319197 | 316362 | SPEN | SPEN | SPEN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.237 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.237 | 0.237 | 0.25 | 0.38 | 0.4 | 2022-05-19 |  | No | No |  | No |  |  | 2022-11-15
N0014821 |  | 2700001521464 | Exelby Services | Leases Lane | Coneygarth Services | Coneygarth | North Yorkshire | Yorkshire | DL7 9NN | England | 428071 | 490838 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.123 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.123 | 0.123 | 0.13 | 0.36 | 0.378 | 2022-04-13 |  | No | No |  | No |  |  | 2022-11-15
N0020125 |  | 2700005482205 | Fulham FC | Craven Cottage | Fullham Footbal Club | Stevenage Road | London | London | SW6 6HH | England | 523601 | 176608 | UKPN | UKPN | UKPN | 11 | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.287 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.287 | 0.287 | 303 | 2.375 | 2.5 | 2022-04-04 |  | No | No |  | No |  |  | 2022-11-15
N0013711 |  | 2700001048818 | TGW Logistics | Peaker Park | Commercial Unit 4 | Rockingham | Market Harborough | Leicestershire | LE16 7FP | England | 474861 | 287690 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0475 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0475 | 0.0475 | 0.05 | 0.0855 | 0.09 | 2022-04-04 |  | No | No |  | No |  |  | 2022-11-15
N0022435 |  | 2700007326330 | Northumberland County Council | Morpeth | Morpeth Sports and Leisure Centre | Gas House Lane | Morpeth Chantry | Morpeth Chantry | NE61 1SR | England | 420254 | 585941 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0475 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0475 | 0.0475 | 0.05 | 0.475 | 0.5 | 2022-04-07 |  | No | No |  | No |  |  | 2022-11-15
N0016247 |  | 2700007174606 | Milton Farm School Glebe Farm | Burney Drive | TBS NR 184 | Glebe Farm | Milton Keynes | Milton Keynes | MK17 8LE | England | 491595 | 237947 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | [12 empty] | No | Connected | 0.095 | 0.095 | 0.1 | 0.131 | 0.138 | 2022-09-15 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0022093 |  | 2700007871423 | London Borough Lewisham Laurence House | Greenvale | Greenvale School | Mayow Road | London | London | SE23 2XJ | England | 535933 | 172009 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.047 | [12 empty] | No | Connected | 0.047 | 0.047 | 0.05 | 0.199 | 0.21 | 2022-07-25 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0020685 |  | 2700006573021 (11B) 2700006573012 (11A) | Buildrandom Ltd | Arden Forest | Arrow Businnes Park | Alcester | Warwickshire | Warwickshire | B49 6HT | England | 408996 408923 | 258727 258701 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | [12 empty] | No | Connected | 0.095 | 0.095 | 0.1 | 0.5 | 0.526 | 21/04/2022 21/04/2022 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0020968 |  | 2700007890444 | Mortar Nova Grand Avenue LLP | Avenue | Landlord Grande Ave & Second Ave | Kind House East | Aldrington | Brighton | BN3 2QY | England | 529138 | 104414 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.072 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.072 | 0.072 | 0.075 | 0.076 | 0.081 | 2022-03-24 |  | No | No |  | No |  |  | 2022-11-15
N0021571 | 2700007235055 | 2700006785720 | Highline Investments LP | Whitehall | Monk Bridge | Residential Development | Leeds | Leeds | LS12 1BE | England | 429038 | 433191 | NPG | NPG | NPG | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.125 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.125 | 0.125 | 0.13 | 0.95 | 1 | 2022-02-22 |  | No | No |  | No |  |  | 2022-11-15
N0016444 |  | 2700007962693(N Gable) 2700007962709(N Cross) | Covent Garden Market Authority | New Covent | Landlord 1 Garden Market Landlord 1 North Cross | Garden Market | London | London | SW8 5EN | England | 529573 529489 | 177194 177058 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.209 | [12 empty] | No | Connected | 0.209 | 0.209 | 0.22 | 0.3 | 0.316 | 2022-05-25 | [5 empty] | 2022-02-28 |  | No | No |  | No |  |  | 2022-11-15
N0022293 |  | 2700007819910 | ASCENT Logistics Park | Fraserfields | Ascent Logistics Park South | Leighton Buzzard | Fraserfields | Fraserfields Southcott | LU7 3RJ | England | 494251 | 225087 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.095 | 0.095 | 0.1 | 0.547 | 0.595 | 2022-05-04 |  | No | No |  | No |  |  | 2022-11-15
N0021706 |  | 2700007408969 | Senior Living Turvey Ltd | The Grange | Village Site Landlord | Hobbswick Lane | Bedford | Bedford | MK43 8AX | England | 495838 | 251924 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.073 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.073 | 0.073 | 0.077 | 0.47 | 0.49 | 2022-02-16 |  | No | No |  | No |  |  | 2022-11-15
N0018177 | 2700008049241 | 2700003901172 | WSE Ltd | Ystum Colwyn | Commercial Supply | Broiler House | Meifod | Powys | SY22 6BN | Wales | 319197 | 316362 | SPEN | SPEN | SPEN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.237 | [12 empty] | No | Connected | 0.237 | 0.237 | 0.25 | 0.38 | 0.4 | 2022-03-31 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0020193 |  | 2700007434597 | St Modwen Properties Ltd. | Tamworth Logistics Park | Signet Way | Dordon Unit 4 | Tamworth | Dordon | B78 2FG | England | 424476 | 300314 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0475 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0475 | 0.0475 | 0.05 | 0.76 | 0.8 | 2022-01-25 |  | No | No |  | No |  |  | 2022-11-15
N0020749 |  | 2700006458480 | St George W.London Ltd | Royal Exchange | Kingston Upon Thames | BA,B, C1 Landlord | Teddington | London | KT1 0OO | England | 518096 | 169123 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.085 | [12 empty] | No | Connected | 0.085 | 0.085 | 0.09 | 0.266 | 0.28 | 2022-06-16 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0018036 | 2700006724523 | 2700006665969 | London Square | Crimscott Street | Energy Centre | Energy Centre London | London | London | SE1 5YO | England | 533452 | 179083 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.076 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.076 | 0.076 | 0.08 | 0.049 | 0.052 | 2021-06-03 |  | No | No |  | No |  |  | 2022-11-15
N0018036 | 2700008356080 | 2700006903206 | Leeds City Council | Harrogate Road | Benton Park School | Rawdon | Leeds | Leeds | LS19 6LX | England | 420994 | 440051 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.076 | [12 empty] | No | Connected | 0.076 | 0.076 | 0.08 | 0.532 | 0.56 | 2021-06-10 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0020764 |  | 2700007156397 | Bohunt School | Bohunt Horsham School | Rusper Road | Horsham School | Horham | Horham | RH12 4QR | England | 519218 | 134301 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.052 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.049 | 0.049 | 0.052 | 0.475 | 0.5 | 2021-06-02 |  | No | No |  | No |  |  | 2022-11-15
N0014983 |  | 2700002099423 | Pinehurst Building B | Building B | Pinehurst Road | Hampshire | Farnborough | Farnborough | GU4 7BF | England | 486491 | 154783 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0632 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0632 | 0.0632 | 0.0666 | 0.653 | 0.688 | 2021-06-08 |  | No | No |  | No |  |  | 2022-11-15
N0021825 | 2700007276664 | 2700007244788 | Bam Construction | Stone Lodge School | Cotton Lane | Stone | Dartford | Dartford | DA2 6PD | England | 556377 | 174220 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.076 | [12 empty] | No | Connected | 0.076 | 0.076 | 0.08 | 0.57 | 0.6 | 2022-04-07 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0013437 | 2700008184907 | 2700007749705 | Burgess Holdings Ltd | Depot | Ben Burgess | Hackamore Way | Barleythorpe | Barleythorpe | LE15 7FS | England | 485365 | 310019 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0475 | [12 empty] | No | Connected | 0.0475 | 0.0475 | 0.05 | 0.142 | 0.15 | 2022-03-30 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0020816 |  | 2700006614306 | Milton Keynes Council | Barrosa Way | Sec. School | Western Expansion Secondary School | Buckinghamshire | Buckinghamshire | MK8 1 BU | England | 480879 | 237735 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.076 | [12 empty] | No | Connected | 0.076 | 0.076 | 0.08 | 0.652 | 0.687 | 2021-11-08 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0021639 | 2700007382637 | 2700007103590 | Humberside Police | Police Operational Unit | Wyke Way | Opeerational Support Station | Melton | Melton | HU14 3BQ | England | 496553 | 426094 | NPG | NPG | NPG | LV | ENC | Fossil - Oil | Other | No | 0 | 0 | 0.95 | Solar | Photovoltaic | No | 0 | 0 | 0.237 | [6 empty] | No | Accecpted to Connect | [6 empty] | 1.187 | 1.187 | 1.25 | 1425 | 1500 | 2021-12-14 |  | No | No |  | No |  |  | 2022-11-15
N7038861 | 2400001145094 | 2400001144816 | Etopia Corby Ltd | The Avenue | BNO Flat 1-16 & Landlord | Priors Hall Park | Corby | Corby | NN17 5GR | England | 492420 | 290124 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.051 | Stored Energy (all stored energy irrespective of the original energy source) | Storage - Electrical | No | 0 | 0 | 0.028 | [6 empty] | No | Connected | 0.078 | 0.078 | 0.082 | 0.137 | 0.145 | 2022-09-29 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0022321 |  | 2700007531040 | Abbey Farm Primary School | Diamond Crescent | Abbey Farm School | School Supply | Swindon | Swindon | SN25 2SJ | England | 413944 | 190125 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.057 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.057 | 0.057 | 0.06 | 0.19 | 0.2 | 2022-10-27 |  | No | No |  | No |  |  | 2022-11-15
N0021344 | 2700008262315 | 2700006883180 | Building Grove York | The Grove | Commercial Unit | Commercial Unit | York | York | YO24 1XD | England | 458455 | 448680 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.057 | [12 empty] | No | Connected | 0.057 | 0.057 | 0.06 | 0.57 | 0.6 | 2022-04-20 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0013063 | 2700000832446 | 2700000643880 | St Albans City & District Council | Holywell Hill | St Albans | Westminster Lodge Leisure Centre | London | London | AL1 2DR | England | 514350 | 206451 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.142 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.142 | 0.142 | 0.15 | 0.76 | 0.8 | 2021-07-27 |  | No | No |  | No |  |  | 2022-11-15
N0020034 | 2700007599493 | 2700007599484 | Phoenix Place | Jubilee Walk | Energy Centre | Energy Centre | London | London | WC1X 0BX | England | 530921 | 182220 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.247 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.247 | 0.247 | 0.26 | 0.022 | 0.024 | 2022-06-13 |  | No | No |  | No |  |  | 2022-11-15
N0017245 |  | 2700006744422 | Cambridgeshire County Council | New Shire Hall | Emery Crescent - Enterprise Campus | Alconbury | Huntingdon | Huntingdon | PE28 4YE | England | 519888 | 276765 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0532 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.053 | 0.053 | 0.056 | 0.762 | 0.803 | 2021-06-23 |  | No | No |  | No |  |  | 2022-11-15
N0021240 |  | 2700006470121 | Stokers Limited 1985 | Lucas Furniture | Sir Henry Lee Crescent 2 | Furniture Stoe | Buckinghamshire | Buckinghamshire | HP18 0PE | England | 478771 | 215432 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.094 | [12 empty] | No | Connected | 0.094 | 0.094 | 0.099 | 0.285 | 0.3 | 2020-07-30 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0020507 |  | 2700005829590 | University Science & Enterp | Oakwood Drive | Lusep | Loughborough | Leicestershire | Leicestershire | LE11 3QF | England | 450476 | 318348 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | [12 empty] | No | Connected | 0.095 | 0.095 | 0.1 | 1 | 1054 | 2020-08-03 | [7 empty] | No | No |  | No |  |  | 2022-11-15
N0019463 |  | 2700005964129 | Lover Broughton Apartments 1 | Clarence Street | Block 1 LL 1-65 |  | Salford | Salford | M7 1BP | England | 382462 | 399822 | ENW | ENW | ENW | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.062 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.062 | 0.062 | 0.066 | 0.001 | 0.002 | 2021-06-14 |  | No | No |  | No |  |  | 2022-11-15
N0019463 |  | 2700005964174 | Lover Broughton Apartments 6 | Clarence Street | Block 6 LL 230-299 |  | Salford | Salford | M7 1BP | England | 382853 | 399818 | ENW | ENW | ENW | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.062 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.062 | 0.062 | 0.066 | 0.001 | 0.002 | 2021-06-14 |  | No | No |  | No |  |  | 2022-11-15
N0018619 |  | 2700004306420 | Ealing Council | Popes Lane | Gunnersbury | Main Facility Park | London | London | W3 9LQ | England | 518692 | 179135 | SSE | SSE | Ealing Primary | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.104 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.104 | 0.104 | 0.11 | 0.27 | 0.285 | 2020-01-21 |  | No | No |  | No |  |  | 2022-11-15
N0018786 |  | 2700005497841 | Thames College | Richmond Education & Enterprose Campus | Egerton Road | Twickenham | Middlesex | Middlesex | TW2 7SJ | England | 515332 | 173808 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.068 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.068 | 0.068 | 0.072 | 1721 | 1812 | 2020-02-04 |  | No | No |  | No |  |  | 2022-11-15
N0014707 |  | 2700001472198 | Buckland Hospital | Dover | Coombe Valley Road | Hospital | Dover Hospital | Dover | CT17 0HD | England | 630443 | 142130 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.048 | [12 empty] | No | Connected | 0.048 | 0.048 | 0.051 | 0.627 | 0.66 | 2015-07-02 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0014530 |  | 2700001492770 | Student Accomodation M4 | Caimbridge Brookgate | Brookgate | Secondary Supply | Caimbridge | Caimbridge | CB1 2FT | England | 546054 | 257011 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.104 | [12 empty] | No | Connected | 0.104 | 0.104 | 0.11 | 0.66 | 0.07 | 2015-03-10 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0014242 |  | 2700001585209 | Abbey Sports Centre | Leisure Centre | Bobby Moore Way | Barking | London | London | IG11 7HW | England | 544266 | 183953 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.104 | [12 empty] | No | Connected | 0.104 | 0.104 | 0.11 | 0.665 | 0.7 | 2015-03-25 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N7042433 | 2400000749760 | 2400000958767 | Plot B Kings Cross Central | York Road | Landlord 1. | Cross Central | London | London | N1C 4UR | England | 530297 | 183664 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.053 | [12 empty] | No | Connected | 0.053 | 0.053 | 0.056 | 0.161 | 0.17 | 2016-07-13 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0014106 |  | 2700001346908 | MR Daniel Bowner | Chestnut Way | Alcester | Birch PL | Bidford | Bidford | B50 4 GF | England | 410021 | 252597 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.218 | [12 empty] | No | Connected | 0.218 | 0.218 | 0.23 | 0.022 | 0.024 | 2016-05-26 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0014726 |  | 2700002561858 | Colin Wagman Occupier | Raglan House 120 | Elephant Road | LL West Tower | London | London | SE17 1FA | England | 532095 | 178943 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.128 | [12 empty] | No | Connected | 0.128 | 0.128 | 0.135 | 0.174 | 0.181 | 2016-09-26 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0017950 | 2700008733032 | 2700003998446 | Barrat London | Energy Centre Supply | Bryan Apartments | College Road | London | London | HA1 1GX | England | 515395 | 188132 | WPD | WPD | WPD | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.104 | [12 empty] | No | Connected | 0.104 | 0.104 | 0.11 | 0.1 | 0.105 | 2016-10-11 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0016449 |  | 2700003372797 | NPS Property II Southampton | Block A1 | Landlord Supply | Hampshire | Southampton | Southampton | SO14 3QW | England | 442097 | 111217 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.081 | [12 empty] | No | Connected | 0.081 | 0.081 | 0.085 | 0.065 | 0.069 | 2017-05-12 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0015765 |  | 2700003661075 | New Block 1-8 | Lyon Road | Masters Court | Landlord LL | Harrow | Harrow | HA1 2EW | England | 515683 | 188185 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.086 | [12 empty] | No | Connected | 0.086 | 0.086 | 0.09 | 0.105 | 0.12 | 2018-01-31 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0016618 |  | 2700002591791 | Hunslet | Rooth Gorse Academy | Black Bull Street | West Yorkshire | Leeds | Leeds | M2K | England | 430749 | 432827 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.052 | [12 empty] | No | Connected | 0.052 | 0.052 | 0.055 | 0.76 | 0.8 | 2017-12-04 | [7 empty] | No | No |  | No |  |  | 2022-12-05
N0019039 | 2700006756180 | 2700004487346 | Deanery CE Academy | Peglars Way | Primary School | Wilshire | Swindon | Swindon | SN1 7DA | England | 413449 | 181324 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.142 | [12 empty] | No | Connected | 0.142 | 0.142 | 0.15 | 0.046 | 0.05 | 2018-09-13 | [7 empty] | No | No |  | No |  |  | 2022-12-06
N0018128 | 2700004367742 | 2700004367742 | The Hyde Group Telecom | Goldstone Lane | Hove | 67 LL | East Sussex | East Sussex | BN3 7RJ | England | 530145 | 183659 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.051 | [12 empty] | No | Connected | 0.051 | 0.051 | 0.055 | 0.053 | 0.058 | 2019-01-21 | [7 empty] | No | No |  | No |  |  | 2022-12-06
N0019369 |  | 2700004720795 | Waltham Abbey Leisure Centre | Hillhouse | Waltham Abbey | Leisure Centre | Essex | Essex | EN9 3EL | England | 539770 | 200532 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.047 | [12 empty] | No | Connected | 0.047 | 0.047 | 0.05 | 0.359 | 0.378 | 2019-04-05 | [7 empty] | No | No |  | No |  |  | 2022-12-06
N0019811 |  | 2700004924598 | Stephen Gascoyne Winvic Constraction Ltd | Mechanical Plant Room | Highcross Street |  | Leicester | Leicester | LE1 4AX | England | 458323 | 304804 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.092 | [12 empty] | No | Connected | 0.092 | 0.092 | 0.098 | 0.142 | 0.15 | 2019-04-17 | [7 empty] | No | No |  | No |  |  | 2022-12-07
N0018002 |  | 2700005035992 | Southern Space Ltd No.5437850 | Grattan Court | Anderson Square | Landlord Supply | London | London | E3 EXL | England | 538040 | 183000 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.047 | [12 empty] | No | Connected | 0.047 | 0.047 | 0.05 | 0.123 | 0.13 | 2019-09-13 | [7 empty] | No | No |  | No |  |  | 2022-12-07
N0018206 |  | 2700004120820 | Orchard Lodge Development | Lambourne House | Apple Yard |  | London | London | SE20 8FX | England | 509014 | 206774 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.066 | [12 empty] | No | Connected | 0.066 | 0.066 | 0.07 | 0.152 | 0.16 | 2019-04-17 | [7 empty] | No | No |  | No |  |  | 2022-12-07
N0018195 | 2700005536279 | 2700004772543 | Notting Hill Energy Centre | Energy Centre | Carlton Gorve |  | London | London | SE15 2UE | England | 534721 | 176860 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.047 | [12 empty] | No | Connected | 0.047 | 0.047 | 0.05 | 0.076 | 0.08 | 2020-01-09 | [7 empty] | No | No |  | No |  |  | 2022-12-07
N0019711 |  | 2700005493971 | Polytechnic for Girls | Woolwich Polytechnic School | Birchdene Drive | School Supply | London | London | SE28 8RF | England | 546251 | 180345 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.069 | [12 empty] | No | Connected | 0.069 | 0.069 | 0.073 | 0.499 | 0.525 | 2019-11-13 | [7 empty] | No | No |  | No |  |  | 2022-12-07
N0018773 |  | 2700005684854 | Student Accomodation | Student Accomodation | Bampfylde Street | Exeter | Devon | Devon | EX1 2FW | England | 292611 | 92994 | WPD | WPD | WPD | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.066 | [12 empty] | No | Connected | 0.066 | 0.066 | 0.07 | 0.836 | 0.88 | 2019-09-10 | [7 empty] | No | No |  | No |  |  | 2022-12-07
N0018881 |  | 2700004426111 | Hounslow Town Primary School | Hounslow Primary School | School Road | Hounslow | Middlesex | Middlesex | TW3 1QZ | England | 514285 | 175772 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.077 | [12 empty] | No | Connected | 0.077 | 0.077 | 0.08 | 0.243 | 0.256 | 2018-12-18 | [7 empty] | No | No |  | No |  |  | 2022-12-07
N0022132 |  | 2700007257095 | Maylands Avenue Park | Prologis Park DC3a | Hemel Hempstead | Riwal | Blossom | Blossom | HP2 4ZP | England | 508057 | 207506 | UKPN | UKPN | UKPN | HV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.684 | [12 empty] | No | Connected | 0.684 | 0.684 | 0.72 | 0.712 | 0.75 | 2021-11-22 | [7 empty] | No | No |  | No |  |  | 2022-12-09
N0020681 |  | 2700005765040 | Daventry International Rail | Frieght Term |  | Northants | Daventry | Daventry | NN6 7GX | England | 456474 | 274358 | WPD | WPD | WPD | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.125 | [12 empty] | No | Connected | 0.125 | 0.125 | 0.132 | 2.85 | 3 | 2021-08-20 | [7 empty] | No | No |  | No |  |  | 2022-12-09
N0021014 |  | 2700006309609 | Wm Morrison Supermarket Plc. | Morrison Store | Coquet Enterprise Park | Amble Morpeth | Northumberland | Northumberland | NE65 0FQ | England | 426609 | 603817 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.06 | [12 empty] | No | Connected | 0.06 | 0.06 | 0.066 | 0.285 | 0.3 | 2021-10-18 | [7 empty] | No | No |  | No |  |  | 2022-12-09
N0021057 |  | 2700006810020 | Stoford Properties Ltd | Unit A Redditch | Coventry Highway |  | Coventry | Coventry | B98 9FJ | England | 408296 | 268635 | WPD | WPD | WPD | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.231 | [12 empty] | No | Connected | 0.231 | 0.231 | 0.249 | 4.25 | 4.5 | 2021-10-15 | [7 empty] | No | No |  | No |  |  | 2022-12-09
N0016444 |  | 2700003788301 | Garden Market | Unit 1 Garden Market | New Covent | Wandsworth | Nine Elms Lane | London | SW8 5EL | England | 532613 | 119091 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.1 | [12 empty] | No | Connected | 0.1 | 0.1 | 0.14 | 0.22 | 0.236 | 2020-03-02 | [7 empty] | No | No |  | No |  |  | 2022-12-09
N0018830 | 2700006959928 | 2700005002199 | Berkeley Homes Portsmouth | Church Steer | Block H | Landlord Supply | London | London | W2 1NA | England | 523713 | 180776 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.401 | [12 empty] | No | Connected | 0.401 | 0.401 | 0.425 | 0.2 | 0.212 | 2019-09-19 | [7 empty] | No | No |  | No |  |  | 2022-12-09
N0019327 |  | 2700005122962 | Park Royal | Block A | Baronet House | Lakeside Drive | London | London | NW10 7GP | England | 519129 | 183157 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.102 | [12 empty] | No | Connected | 0.102 | 0.102 | 0.108 | 0.237 | 0.25 | 2021-01-21 | [7 empty] | No | No |  | No |  |  | 2022-12-09
N0014664 |  | 2700001459930 | Dukes Aldridge Academy | Broadway | Salford | Mediacity | Manchester | Manchester | M50 2UW | England | 380426 | 397676 | ENW | ENW | ENW | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.047 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.047 | 0.047 | 0.05 | 0.237 | 0.25 | 2022-12-08 |  | No | No |  | No |  |  | 2023-01-09
N0014893 |  | 2700002099414 | Farnborough Business Park Ltd | Building A | Pinehurst Road |  | Farnborough | Hampshire | GU14 7BF | England | 486369.09 | 154681.12 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.086184 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.086184 | 0.086184 | 0.09072 | 0.53675 | 0.53675 | 2022-12-14 |  | No | No |  | No |  |  | 2023-01-09
N0015263 |  | 2700001866710 | Park Lane Properties | Student Accomodation | The Edge | Westfield Road | Leeds | West Yorkshire | LS3 1DF | England | 428796.57 | 434086.53 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.047 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.047 | 0.047 | 0.05 | 0.1425 | 0.15 | 2022-12-09 |  | No | No |  | No |  |  | 2023-01-09
N0017245 |  | 2700003100178 | Alconbury Packing Solutions Ltd | Huntingdon | Cambridgeshire | Ooo Ermine | Caimbridge | Caimbridge | PE28 4YE | England | 519228 | 277094 | UKPN | UKPN | UKPN | HV | ENC | Solar | Photovoltaic | No | 0 | 0 | 1.9 | [12 empty] | No | Accecpted to Connect | [6 empty] | 1.9 | 1.9 | 2 | 1.9 | 2 | 2023-01-30 |  | No | No |  | No |  |  | 2023-02-09
N0021780 |  | 2700008195253 | Soho Loop Ltd | Hooper Street | Landlord C |  | Birmingham | Birmingham | B18 7AZ | England | 404958 | 287614 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.072 | [12 empty] | No | Connected | 0.072 | 0.072 | 0.076 | 0.077 | 0.081 | 2023-07-13 | [5 empty] | 2023-02-27 |  | No | No |  | No |  |  | 2023-03-10
N0021780 |  | 2700008195280 | Soho Loop Ltd | Hooper Street | Landlord F |  | Birmingham | Birmingham | B18 7AZ | England | 404948 | 287456 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.062 | [12 empty] | No | Connected | 0.062 | 0.062 | 0.066 | 0.077 | 0.081 | 2023-07-13 | [5 empty] | 2023-02-27 |  | No | No |  | No |  |  | 2023-03-10
N0022613 |  | 2700007877373 | ConSpare Ltd | Castlewood Business Park | Farmwell Lane | Ashfield | Nottingham | Nottingham | NG17 1BX | England | 447117 | 357148 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | [12 empty] | No | Connected | 0.095 | 0.095 | 0.1 | 0.143 | 0.15 | 2023-04-06 | [5 empty] | 2023-03-08 |  | No | No |  | No |  |  | 2023-04-06
N0014032 |  | 2700001105884 | Frederick Gough School | Grange Lane South | Scunthorpe | School | Scunthorpe | Scunthorpe | DN16 3NG | England | 490129 | 407899 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.18 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.18 | 0.18 | 0.19 | 0.76 | 0.8 | 2023-03-15 |  | No | No |  | No |  |  | 2023-04-06
N0020811 |  |  | Central Park Industrial Estate | Petherton Road | Hengrove |  | Bristol | Bristol | BS14 9BZ | England | 537742 | 186349 | UKPN | UKPN | UKPN | LV | ENC | Solar | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.564 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.564 | 0.564 | 0.594 |  |  | 2023-03-09 |  | No | No |  | No |  |  | 2023-05-15
N0021751 |  | 2700007681386 | Noma 4 | Angel Square |  |  | Manchester | Manchester | M4 4FW | England | 384947 | 398762 | ENW | ENW | ENW | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.146 | [12 empty] | No | Connected | 0.146 | 0.146 | 0.154 | 0.76 | 0.8 | 2023-05-26 | [5 empty] | 2023-03-23 |  | No | No |  | No |  |  | 2023-05-15
N0014833 |  | 2700008396640 | European Space Agency | Conference Centre | Femi Avenue | Harwell | Didcot | Didcot | OX11 OFD | England | 448055 | 186559 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.076 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.076 | 0.076 | 0.08 | 0.206 | 0.217 | 2023-02-23 |  | No | No |  | No |  |  | 2023-05-15
N0019363 |  | 2700006148614 | Iguana Development Ltd | The Glass House | Queens Dock Avenue | Hull | Hull | Hull | HU1 3FA | England | 509918 | 429035 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.047 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.047 | 0.047 | 0.05 | 0.115 | 0.14 | 2023-02-22 |  | No | No |  | No |  |  | 2023-05-15
N0019624 |  | 2700006520270 | Countryside Properties Ltd | Crestline House | Halewood Way | Rainham | Rainham | Rainham | RM13 8RQ | England | 550033 | 182889 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.048 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.048 | 0.048 | 0.051 | 0.014 | 0.129 | 2023-03-13 |  | No | No |  | No |  |  | 2023-05-15
N0016346 |  | 2700002397903 | Arnold Hill School | Arnold Hill Academy | Gedling Road | Arnold | Nottingham | Nottinghamshire | NG5 6NZ | England | 459496 | 344780 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.139 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.1387 | 0.1387 | 0.146 | 0.76 | 0.8 | 2023-07-06 |  | No | No |  | No |  |  | 2023-07-12
N0018699 |  | 2700006976320 | The Stage Shoreditch | Commercial & Landlord 2 | Stage Plaza | Curtain Road | London | London | EC2A 3NQ | England | 533338 | 182129 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.116 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.116 | 0.1159 | 0.122 | 0.95 | 1 | 2023-06-08 |  | No | No |  | No |  |  | 2023-07-12
N0022683 |  | 2700007646284 | Hill Partnerships Ltd | Block A Landlord Supply | Block A1 | Turing Way | Cambridge | Cambridgeshire | CB3 1BS | England | 542493 | 259697 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.06175 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.062 | 0.062 | 0.065 | 0.0095 | 0.01 | 2023-05-18 |  | No | No |  | No |  |  | 2023-07-12
N0022683 |  | 2700007646327 | Hill Partnerships Ltd | Block B Landlord Supply | Block B | Turing Way | Cambridge | Cambridgeshire | CB3 1BR | England | 542493 | 259697 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.048 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.048 | 0.048 | 0.05 | 0.02 | 0.021 | 2023-05-18 |  | No | No |  | No |  |  | 2023-07-12
N0022683 |  | 2700007646336 | Hill Partnerships Ltd | Block C Landlord Supply | Block C | Turing Way | Cambridge | Cambridgeshire | CB3 1BR | England | 542493 | 259697 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.048 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.048 | 0.048 | 0.05 | 0.02 | 0.021 | 2023-05-18 |  | No | No |  | No |  |  | 2023-07-12
N0022683 |  | 2700007646345 | Hill Partnerships Ltd | Block D Landlord Supply | Block D | Turing Way | Cambridge | Cambridgeshire | CB3 1BQ | England | 542493 | 259697 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.048 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.048 | 0.048 | 0.05 | 0.02 | 0.021 | 2023-05-18 |  | No | No |  | No |  |  | 2023-07-12
N0017245 |  | 2700008307774 | AM Fresh UK | AM Fresh | Barnwell Road | Alconbury Weald | Huntingdon | Cambridgeshire | PE28 4WX | England | 519634 | 276801 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 1.045 | [12 empty] | No | Accecpted to Connect | [6 empty] | 1.045 | 1.045 | 1.1 | 2.85 | 3 | 2023-06-22 |  | No | No |  | No |  |  | 2023-07-12
N0015479 |  | 2700002005684 | Luxinar Ltd | Rofin Sinar Warehouse | Bridgehead Business Park | Boothferry Road | Hessle | East Riding of Yorkshire | HU13 0LN | England | 501610 | 426579 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.253 | [12 empty] | No | Connected | 0.253 | 0.253 | 0.266 | 0.95 | 1 | 2023-07-21 | [5 empty] | 2023-05-15 |  | No | No |  | No |  |  | 2023-07-12
N0018466 |  | 2700009091305 | Normandy Way Primary School | Normandy Way Primary School | Primary School | Normandy Way | Hinckley | Leicestershire | LE10 3FL | England | 440653 | 294874 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.063 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.063 | 0.063 | 0.065 | 0.257 | 0.27 | 2023-05-17 |  | No | No |  | No |  |  | 2023-07-12
N0022884 |  | 2700008954258 | West Coventry Academy | West Coventry Academy | West Coventry Academy | Nutbrook Avenue | Coventry | West Midlands | CV4 9PW | England | 427939 | 278287 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.127 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.127 | 0.127 | 0.1332 | 0.95 | 1 | 2023-06-15 |  | No | No |  | No |  |  | 2023-07-12
N0017783 |  | 2700008467060 | Graven Hill Primary School | Graven Hill Primary School | 32 Graven Hill Road | Ambrosden | Bicester | Oxfordshire | OX25 2BF | England | 427938 | 278287 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.095 | 0.095 | 0.1 | 0.238 | 0.25 | 2023-05-31 |  | No | No |  | No |  |  | 2023-07-12
N0018479 |  | 2700005633265 | Global Precision Ltd | Unit 3 | River View | Haworth | Keighley | West Yorkshire | BD22 8SB | England | 403541 | 436696 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.055 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.055 | 0.055 | 0.058 | 0.143 | 0.15 | 2023-06-15 |  | No | No |  | No |  |  | 2023-07-12
N0019711 |  | 2700005493971 | Woolwich Polytechnic School for Girls | Woolwich Polytechnic School for Girls | 1 | Birchdene Drive | London | London | SE28 8SP | England | 546127 | 180397 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.067 | [12 empty] | No | Connected | 0.067 | 0.067 | 0.07 | 0.499 | 0.525 | 2023-07-03 | [5 empty] | 2023-06-02 |  | No | No |  | No |  |  | 2023-07-12
N0019934 |  | 2700005029605 | LSH Auto Ltd | Mercedes Benz Showroom | Mercedes Benz Showroom | Brighton Road | Stockport | Cheshire | SK4 2BE | England | 388007 | 390252 | ENWL | ENWL | ENWL | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.19 | [12 empty] | No | Connected | 0.19 | 0.19 | 0.2 | 1.33 | 1.4 | 2023-08-02 | [5 empty] | 2023-07-27 |  | No | No |  | No |  |  | 2023-08-11
N0022313 |  | 2700007770353 | Durham County Council | Durham History Centre | Durham History Centre | Mount Oswald | Off South Road | Durham | DH1 3TQ | England | 426725 | 540703 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.095 | [12 empty] | No | Accecpted to Connect | 0.095 | 0.095 | 0.1 | 0.285 | 0.3 | 2023-08-04 | [5 empty] | 2023-07-21 |  | No | No |  | No |  |  | 2023-08-11
N0021609 |  | 2700006903206 | Benton Park School | Benton Park School | Benton Park School | Harrogate Road | Rawdon | Leeds | LS19 6LX | England | 420962 | 440126 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.19 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.19 | 0.19 | 0.2 | 0.532 | 0.56 | 2023-07-21 |  | No | No |  | No |  |  | 2023-08-11
N0023467 |  | 2700008855343 | Hertfordshire County Council | Avanti Brook Primary School | Avanti Brook Primary School | Newland Avenue | Bishop's Stortford | Hertfordshire | CM23 2UW | England | 547393 | 222387 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.080237 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.08 | 0.08 | 0.08446 | 0.60325 | 0.635 | 2023-08-03 |  | No | No |  | No |  |  | 2023-08-11
N0016353 |  | 2700003533197 | Westfield (Glassworks) Ltd | Student Accommodation | The Glassworks | Cardigan Road | Leeds | West Yorkshire | LS6 1QL | England | 428059 | 434747 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.19 | [12 empty] | No | Connected | 0.19 | 0.19 | 0.2 | 0.2375 | 0.25 | 2023-09-01 | [5 empty] | 2023-09-01 |  | No | No |  | No |  |  | 2023-09-13
N7047256 |  | 2400000864115 | Mulberry Company (Design) Ltd | Mulberry Co Design Ltd | The Willows | Kings Road | Bridgwater | Somerset | TA6 4GZ | England | 331150 | 139438 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.5225 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.5225 | 0.5225 | 0.55 | 0.6175 | 0.65 | 2023-08-21 |  | No | No |  | No |  |  | 2023-09-13
N0016381 |  | 2700002522974 | Crosby Primary School | Crosby Primary School | Crosby Primary School | Normanby Road | Scunthorpe | North Lincolnshire | DN15 8PT | England | 489211 | 412306 | NPG | NPG | NPG | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.07125 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.07125 | 0.07125 | 0.075 | 0.2071 | 0.218 | 2023-09-04 |  | No | No |  | No |  |  | 2023-09-13
N0023908 |  | 2700009321130 | Care Home | Care Home | Care Home | Candlet Road | Felixstowe | Suffolk | IP11 9ER | England | 629627 | 236025 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.09975 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.09975 | 0.09975 | 0.105 | 0.133 | 0.14 | 2023-08-21 |  | No | No |  | No |  |  | 2023-09-13
N0022092 |  |  | Lewisham Gateway | Block E Energy Centre | Block E Energy Centre | Unit 2 Station Road | Lewisham | London | SE13 5FQ | England | 538246 | 175762 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.246 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.247 | 0.247 | 0.26 | 0.13889 | 0.1462 | 2023-08-22 |  | No | No |  | No |  |  | 2023-09-13
N0021723 |  | 2700007658207 | London Square (West Croydon) | Landlord A | Angel Heights | 3 Poplar Walk | Croydon | London | CR0 1UA | England | 532190 | 166029 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.0475 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0475 | 0.0475 | 0.05 | 0.4845 | 0.51 | 2023-08-18 |  | No | No |  | No |  |  | 2023-09-13
N0015256 |  | 2700002656153 | Bang Bang Oriental Foodhall | Bang Bang Oriental Foodhall | Unit C | 399 Edgware Road | London | Greater London | NW9 0FH | England | 520537 | 189691 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.13756 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.13756 | 0.13756 | 0.1448 | 0.38 | 0.4 | 2023-09-03 |  | No | No |  | No |  |  | 2023-09-13
N0020488 |  | 2700007992518 | Green Park | Energy Centre | 53 Flagstaff Road | Green Park | Reading | Berkshire | RG2 6BZ | England | 469631 | 170284 | SSE | SSE | SSE | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.12825 | [12 empty] | No | Connected | 0.12825 | 0.12825 | 0.135 | 0.02375 | 0.025 | 2023-08-15 | [5 empty] | 2023-06-30 |  | No | No |  | No |  |  | 2023-09-13
N0021780 |  | 2700008195271 | Soho Loop Ltd | Soho Wharf Block E | Landlord E | Soho Wharf | 55 Hooper Street | Birmingham | B18 7AR | England | 404958 | 287524 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.1102 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.1102 | 0.1102 | 0.116 | 0.07695 | 0.081 | 2023-07-06 |  | No | No |  | No |  |  | 2023-09-13
N0014962 |  | 2700004484503 | The Cambridge Primary School | The Cambridge Primary School | Queens Avenue | Wellesley | Aldershot | Hampshire | GU11 4AA | England | 486389 | 151881 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.057 | [12 empty] | No | Connected | 0.057 | 0.057 | 0.06 | 0.114 | 0.114 | 2023-08-24 | [5 empty] | 2023-07-20 |  | No | No |  | No |  |  | 2023-09-13
N0020466 |  | 2700005900853 | SCBS Property Limited | 5 Nuffield Road | Unit 1A | 5 Nuffield Road | Poole | Dorset | BH17 0SS | England | 401373 | 93421 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.057 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.057 | 0.057 | 0.06 | 0.095 | 0.1 | 2023-08-02 |  | No | No |  | No |  |  | 2023-09-13
N0013673 |  | 2700001048144 | Charters Village | Charters Towers | Landlord 1-6 | Charters Village Drive | East Grinstead | West Sussex | RH19 2HQ | England | 538710 | 140514 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.0475 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0475 | 0.0475 | 0.05 | 0.11305 | 0.119 | 2023-08-08 |  | No | No |  | No |  |  | 2023-09-13
N0021040 |  | 2700007474749 | Energy Centre | Energy Centre | Daisy House | Middle Road | London | Greater London | W7 3FN | England | 515528 | 179899 | UKPN | UKPN | UKPN | LV | ENC | Fossil - Gas | Engine (combustion / reciprocating) | Yes | 0 | 0 | 0.0665 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.0665 | 0.0665 | 0.07 | 0.1501 | 0.158 | 2023-08-09 |  | No | No |  | No |  |  | 2023-09-13
N0014488 |  | 2700001487050 | West Midlands Trains Limited | Northampton Railway Station | Northampton Railway Station | Black Lion Hill | Northampton | Northamptonshire | NN1 1SP | England | 474785 | 260438 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.1045 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.1045 | 0.1045 | 0.11 | 0.5415 | 0.57 | 2023-10-04 |  | No | No |  | No |  |  | 2023-10-10
N0022161 |  | 2700007801700 | Caddington Care Village | Retirement Village | Millfield Green Retirement Village | Millfield Lane | Caddington | Luton | LU1 4AR | England | 505575 | 218703 | UKPN | UKPN | UKPN | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.1653 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.1653 | 0.1653 | 0.174 | 1.2625 | 1.329 | 2023-09-18 |  | No | No |  | No |  |  | 2023-10-10
N0021470 |  | 2700008449168 | Seven Capital (Crocus) Ltd | The Grand Exchange | The Grand Exchange | Market Street | Bracknell | Berkshire | RG12 1BL | England | 486769 | 169103 | SSE | SSE | SSE | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.114 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.114 | 0.114 | 0.12 | 0.19 | 0.2 | 2023-10-17 |  | No | No |  | No |  |  | 2023-11-14
N0014085 |  | 2700001128288 | Brakes | Brakes Newhouse | Prologis Development | Prologis Park M9 | Edinburgh Road | Glasgow | ML1 5GH | Scotland | 279095 | 661628 | SPEN | SPEN | SPEN | HV | ENC | Solar | Photovoltaic | No | 0 | 0 | 1.425 | [12 empty] | No | Accecpted to Connect | [6 empty] | 1.425 | 1.425 | 1.5 | 1.6625 | 1.75 | 2023-10-11 |  | No | No |  | No |  |  | 2023-11-14
N0023999 |  | 2700009272820 | LNT Care Developments Ltd | LNT Tamworth | Care Home | Arkall Manor | Ashby Road | Tamworth | B79 0GJ | England | 422045 | 305952 | NGED | NGED | NGED | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.133 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.133 | 0.133 | 0.14 | 0.133 | 0.14 | 2023-11-07 |  | No | No |  | No |  |  | 2023-11-14
N0023785 |  | 2700008983212 | Danforth Care | Rossendale House | Care Home, Rossendale House | 63 Rossendale Avenue | Burnley | Lancashire | BB11 5HF | England | 382997 | 430561 | ENWL | ENWL | ENWL | LV | ENC | Solar | Photovoltaic | No | 0 | 0 | 0.09025 | [12 empty] | No | Accecpted to Connect | [6 empty] | 0.09025 | 0.09025 | 0.095 | 0.10925 | 0.10925 | 2023-10-19 |  | No | No |  | No |  |  | 2023-11-14

## Definitions Part 2 (DSR)
Part 2
Introduction
For clarity, sites subject to a DSR Contract associated with consumption units are shown in Part 2 of the Embedded Capacity Register. Sites associated with generation (including storage) are shown in Part 1 of the Embedded Capacity Register.
Register Definitions
| Heading | Explanation
General Data
| Import MPAN / MSID | The core meter point administration number, a 13-digit reference used in MPAS to identify the relevant Metering Point. For sites subject to a DSR contract and for storage sites, the "Import" MPAN (or MSID for CVA registered sites) should be included. For generation sites, including generators taking on-site supplies, please indicate "not applicable". For "Accepted to Connect" storage sites, please indicate "data not available".
| Customer Name | Name of party that is connected or contracted to connect.
| Customer Site | Name of customer site/project name.
| Address Line 1 | Address line 1 of the Customer Site.
| Address Line 2 | Address line 2 of the Customer Site.
| Town/ City | Town / City of the Customer Site.
| County | County of the Customer Site.
| Postcode | Postcode of the Customer Site.
| Country | GB country of the Customer Site.
| Location (X-coordinate): Eastings (where data is held) | Six digit British National Grid X coordinate of the Customer Site. Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Location (Y-coordinate): Northings (where data is held) | Six or seven digit British National Grid Y coordinate of the Customer Site. (In Northern Scotland, these will be seven digit coordinates.) Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Grid Supply Point | The point of connection between the transmission system and the distribution system that is linked with the Customer Site.
| Bulk Supply Point | The supply point on the distribution system (representing an EHV/EHV transformation level) that is linked with the Customer Site.
| Primary | The primary substation on the distribution system that is linked with the Customer Site.
| Point of Connection (POC) Voltage (kV) | The voltage at the Point of Connection to the distribution system.
| Licence Area | Licence area Customer Site is connected within
| Flexible Connection (Yes/No) | Indicates whether the connection is subject to a flexible connection arrangement e.g. Active Network Management (ANM) during system normal conditions.
Already Contracted DSR
| DSR Capacity (MW) | This is the capacity of the demand that is included in a DSR services contract.
| Maximum Import Capacity (MW) | This is the total MW import capacity permitted as per the connection agreement.
| Maximum Import Capacity (MVA) | This is the total MVA export capacity permitted as per the connection agreement.
| Date Contracted | This is the date the DSR services contract commenced.
Services Provided
| Distribution Service Provider (Y/N) | Indicates whether a service is provided to the DNO.
| Transmission Service Provider (Y/N) | Indicates whether a service is provided to the ESO or a TO.
| Reference | Unique reference to the service(s) being provided.
Last Update of Data Row
| Last Updated | Date on which entry was last updated.
Note
For each site that meets the criteria to be included in its Embedded Capacity Register, each DNO/IDNO Party shall use reasonable endeavours to populate all relevant fields in the Embedded Capacity Register. Where the DNO/IDNO Party does not hold data for a specific field for a specific site, then the DNO/IDNO Party will populate the relevant field with the words ‘data not available’. If a specific field is not applicable to a specific site, then the DNO/IDNO Party will leave the field blank.

## Register Part 2 (DSR)
General Data | [16 empty] | Already Connected |  |  |  | Services Provided
Import MPAN / MSID | Customer Name | Customer Site | Address Line 1 | Address Line 2 | Town/ City | County | Postcode | Country | Location (X-coordinate): Eastings (where data is held) | Location (y-coordinate): Northings (where data is held) | Grid Supply Point | Bulk Supply Point | Primary | Point of Connection (POC) Voltage (kV) | Licence Area | Flexible Connection (Yes/No) | DSR Capacity (MW) | Maximum Import Capacity (MW) for Site | Maximum Import Capacity (MVA) for Site | Date Contracted | Distribution Service Provider (Y/N) | Transmission Service Provider (Y/N) | Reference | Last Updated

## Lists (hidden)
| ECR Energy Source | Technology options for: Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Technology options for: Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Technology options for: Biofuel - Landfill gas | Technology options for: Biofuel - Sewage gas | Technology options for: Biofuel - Other | Technology options for: Biomass | Technology options for: Fossil - Brown coal/lignite | Technology options for: Fossil - Coal gas | Technology options for: Fossil - Gas | Technology options for: Fossil - Hard coal | Technology options for: Fossil - Oil | Technology options for: Fossil - Oil shale | Technology options for: Fossil - Peat | Technology options for: Fossil - Other | Technology options for: Geothermal | Technology options for: Hydrogen | Technology options for: Nuclear | Technology options for: Solar | Technology options for: Stored Energy (all stored energy irrespective of the original energy source) | Technology options for: Waste | Technology options for: Water (flowing water or head of water) | Technology options for: Wind | Technology options for: Other | Technology options for: Data not available | Flexible Connection (Yes/No) | Distribution Service Provider | Transmission Service Provider | Licence Area (Host DNO) | Status | CHP Co-Generation | Connection queue | Country
AdvancedFuelproducedviagasificationorpyrolysisofbiofuelorwaste | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Geothermal power plant | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Photovoltaic | Storage - Chemical | Steam turbine (thermal power plant) | Hydro - Run of river | Offshore wind turbines | Interconnector | Engine (combustion / reciprocating) | Yes | Yes | Yes | Eastern Power Networks plc | Accecpted to Connect | Yes | Yes | England
BiofuelBiogasfromanaerobicdigestionexcludinglandfillsewage | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Other | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Other | Other | Storage - Electrical | Other | Hydro - Reservoir (not pumped) | Onshore wind turbines | --- | Steam turbine (thermal power plant) | No | No | No | Electricity North West plc | Connected | No | No | Scotland
BiofuelLandfillgas | Biofuel - Landfill gas | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Data not available | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Data not available | Data not available | Storage - Mechanical - Compressed Air (Adiabatic & Diabatic) | Data not available | Hydro - Other | Other | Engine (combustion / reciprocating) | Gas turbine (OCGT) | To Be Confirmed | To Be Confirmed | To Be Confirmed | London Power Networks plc |  | To Be Confirmed | To Be Confirmed | Wales
BiofuelSewagegas | Biofuel - Sewage gas | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  |  | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) |  |  | Storage - Mechanical - Liquid Air |  | Tidal lagoons | Data not available | Steam turbine (thermal power plant) | Steam-gas turbine (CCGT) |  |  |  | Northern Powergrid (Northeast) plc |  |  |  | To Be Confirmed
BiofuelOther | Biofuel - Other | Other | Other | Other | Other | Other |  |  | Other | Other |  | Other | Other |  | Other |  | Fuel cell |  |  | Storage - Mechanical - Pumped Hydro |  | Tidal stream devices |  | Gas turbine (OCGT) | Other |  |  |  | Northern Powergrid (Yorkshire) plc
Biomass | Biomass | Data not available | Data not available | Data not available | Data not available | Data not available |  |  | Data not available | Data not available |  | Data not available | Data not available |  | Data not available |  | Other |  |  | Storage - Mechanical - Flywheel |  | Wave devices |  | Steam-gas turbine (CCGT) | Data not available |  |  |  | Scottish Hydro Electric Power Distribution plc
FossilBrowncoallignite | Fossil - Brown coal/lignite | [15 empty] | Data not available |  |  | Storage - Thermal |  | Other |  | Other |  |  |  |  | South Eastern Power Networks plc
FossilCoalgas | Fossil - Coal gas | [18 empty] | Storage - Electrochemical (Batteries) |  | Data not available |  | Data not available |  |  |  |  | Southern Electric Power Distribution plc
FossilGas | Fossil - Gas | [18 empty] | Storage - Other |  | (For pumped hydro please select Stored Energy in the energy source column) | [6 empty] | SP Distribution Ltd
FossilHardcoal | Fossil - Hard coal | [18 empty] | Data not available | [8 empty] | SP Manweb plc
FossilOil | Fossil - Oil | [27 empty] | Western Power Distribution (East Midlands) plc
FossilOilshale | Fossil - Oil shale | [27 empty] | Western Power Distribution (South Wales) plc
FossilPeat | Fossil - Peat | [27 empty] | Western Power Distribution (South West) plc
FossilOther | Fossil - Other | [27 empty] | Western Power Distribution (West Midlands) plc
Geothermal | Geothermal
Hydrogen | Hydrogen
Nuclear | Nuclear
Solar | Solar
StoredEnergyallstoredenergyirrespectiveoftheoriginalenergysource | Stored Energy (all stored energy irrespective of the original energy source)
Waste | Waste
Waterflowingwaterorheadofwater | Water (flowing water or head of water)
Wind | Wind
Other | Other
Datanotavailable | Data not available